{"text_format":"3","workbook":"xls","n_sheets":16,"sheets":["lesion size(MRTI)","lesion size(T1+C)","initial + max temp","Exposure history","temp uncertainty","Bland+Corr (pt1)","Bland+Corr(pt2)","Damage area growth raw data","Damage area_laser power plots","Dog4 spatial profile","temporaldata-dog1","temporaldata-dog2","temporaldata-dog3a","temporaldata-dog3b","temporaldata-dog4","thermal treatment images"],"not_rendered":{"charts":12,"images":6,"external_links":4,"defined_names":18},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"lesion size(MRTI)","index":0,"n_rows":28,"n_cols":23,"rows_kept":28,"flags":["formulas_cached_only"]}
["dog 1","baseline",34.3,"stdev",0.321038,null,"dog 2","baseline",35.9,"stdev",0.76418,null,"dog 3","baseline",33.9,"stdev",0.472106,null,"dog 4","baseline",34.3,"stdev",0.314678]
["dosea2.m",{"$nulls":5},"dosea2.m",{"$nulls":5},"dosea2.m",{"$nulls":5},"dosea2.m"]
["min"]
["sensitivity coefficient = -.0097",null,null,"threshold = 1.0",null,null,"sensitivity coefficient = -.0097",{"$nulls":5},"sensitivity coefficient = -.0097"]
[null,"area (pix)","area(mm2)","Volume","DSC",null,null,"area (pix)","area(mm2)","Volume","DSC",null,null,"area (pix)","area(mm2)","Volume","DSC",null,"sensitivity coefficient = -.0097"]
["slice 1",0,0,{"$nulls":3},"slice 1",0,0,{"$nulls":3},"slice 1",1,0.6103515625,{"$nulls":4},"area (pix)","area(mm2)","Volume","DSC"]
["slice 2",71,43.3349609375,{"$nulls":3},"slice 2",181,110.4736328125,{"$nulls":3},"slice 2",200,122.0703125,{"$nulls":3},"slice 1",139,84.8388671875]
["center",127,77.5146484375,483.3984375,0.9227,null,"center",227,138.5498046875,946.6552734375,0.907,null,"center",293,178.8330078125,1511.23046875,0.9041,null,"center",164,100.09765625,795.8984375,0.9336]
["slice 4",0,0,{"$nulls":3},"slice 4",100,61.03515625,{"$nulls":3},"slice 4",125,76.2939453125,{"$nulls":3},"slice 3",23,14.0380859375]
["slice 5",0,0,{"$nulls":3},"slice 5",9,5.4931640625,{"$nulls":3},"slice 5",0,0]
[]
["baseline"]
["sensitivity coefficient = -.0097",{"$nulls":5},"sensitivity coefficient = -.0097",{"$nulls":5},"sensitivity coefficient = -.0097"]
[null,"area (pix)","area(mm2)","Volume","DSC",null,null,"area (pix)","area(mm2)","Volume","DSC",null,null,"area (pix)","area(mm2)","Volume","DSC",null,"sensitivity coefficient = -.0097"]
["slice 1",0,0,{"$nulls":3},"slice 1",0,0,{"$nulls":3},"slice 1",1,0.6103515625,{"$nulls":4},"area (pix)","area(mm2)","Volume","DSC"]
["slice 2",71,43.3349609375,{"$nulls":3},"slice 2",187,114.1357421875,{"$nulls":3},"slice 2",200,122.0703125,{"$nulls":3},"slice 1",141,86.0595703125]
["center",128,78.125,485.83984375,0.919,null,"center",230,140.380859375,985.107421875,0.9098,null,"center",300,183.10546875,1540.52734375,0.9132,null,"center",167,101.9287109375,815.4296875,0.9332]
["slice 4",0,0,{"$nulls":3},"slice 4",111,67.7490234375,{"$nulls":3},"slice 4",130,79.345703125,{"$nulls":3},"slice 3",26,15.869140625]
["slice 5",0,0,{"$nulls":3},"slice 5",10,6.103515625,{"$nulls":3},"slice 5",0,0]
[]
["max"]
["sensitivity coefficient = -.0097",{"$nulls":5},"sensitivity coefficient = -.0097",{"$nulls":5},"sensitivity coefficient = -.0097"]
[null,"area (pix)","area(mm2)","Volume","DSC",null,null,"area (pix)","area(mm2)","Volume","DSC",null,null,"area (pix)","area(mm2)","Volume","DSC",null,"sensitivity coefficient = -.0097"]
["slice 1",0,0,{"$nulls":3},"slice 1",0,0,{"$nulls":3},"slice 1",1,0.6103515625,{"$nulls":4},"area (pix)","area(mm2)","Volume","DSC"]
["slice 2",73,44.5556640625,{"$nulls":3},"slice 2",202,123.291015625,{"$nulls":3},"slice 2",213,130.0048828125,{"$nulls":3},"slice 1",145,88.5009765625]
["center",132,80.56640625,500.48828125,0.9203,null,"center",242,147.705078125,1049.1943359375,0.9122,null,"center",306,186.767578125,1604.00390625,0.9204,null,"center",172,104.98046875,856.93359375,0.9272]
["slice 4",0,0,{"$nulls":3},"slice 4",119,72.6318359375,{"$nulls":3},"slice 4",137,83.6181640625,{"$nulls":3},"slice 3",34,20.751953125]
["slice 5",0,0,{"$nulls":3},"slice 5",10,6.103515625,{"$nulls":3},"slice 5",0,0]

{"sheet":"lesion size(T1+C)","index":1,"n_rows":25,"n_cols":15,"rows_kept":25,"flags":["formulas_cached_only"]}
["area of damage for T1post"]
[]
["dog 1",{"$nulls":7},"dog 2"]
["TMAP",null,"T1-post",{"$nulls":5},"TMAP",null,"T1-post"]
["slice thickness",null,"slice thickness",{"$nulls":5},"slice thickness",null,"slice thickness"]
[4,null,4,{"$nulls":3},"s230061",null,3,null,3,{"$nulls":3},"s355745"]
[null,"slice loc",null,"slice loc","area (pix)","area(mm2)","Volume",null,null,"slice loc",null,"slice loc","area (pix)","area(mm2)","Volume"]
["slice 1",18.776,"slice 8",18.336,{"$nulls":4},"slice 1",-22.858,"slice 6",-22.858]
["slice 2",22.293,"slice 9",21.853,90,54.931640625,null,null,"slice 2",-25.816,"slice 7",-25.816,153,93.3837890625]
["center",25.81,"slice 10",25.37,123,75.0732421875,534.66796875,null,"center",-28.774,"slice 8",-28.774,192,117.1875,650.0244140625]
["slice 4",29.327,"slice 11",28.887,6,3.662109375,null,null,"slice 4",-31.732,"slice 9",-31.732,10,6.103515625]
["slice 5",32.844,"slice 12",32.404,{"$nulls":4},"slice 5",-34.69,"slice 10",-34.69]
[]
["dog 3",{"$nulls":7},"dog 4"]
["TMAP",null,"T1-post",{"$nulls":5},"TMAP",null,"T1-post"]
["slice thickness",null,"slice thickness",{"$nulls":5},"slice thickness",null,"slice thickness"]
[4,null,3,{"$nulls":3},"s132059",null,4,null,4,{"$nulls":3},"s354211"]
[null,"slice loc",null,"slice loc","area (pix)","area(mm2)",{"$nulls":3},"slice loc",null,"slice loc","area (pix)","area(mm2)","Volume"]
["slice 1",14.739,"slice 7",15.618,null,null,"Volume"]
["slice 2",11.224,"slice 8",12.982,14,8.544921875,null,null,"slice 1",-19.294,"slice 7",-19.294,124,75.68359375]
["center",7.709,"slice 9",10.345,231,140.9912109375,1536.2548828125,null,"center",-15.991,"slice 8",-15.991,162.33,99.07836914062501,699.0478515625]
["slice 4",4.1939,"slice 10",7.709,321,195.9228515625,null,null,"slice 3",-12.688,"slice 9",-12.688]
["slice 5",0.67887,"slice 11",5.0727,273,166.6259765625]
[null,null,"slice 12",2.4364]
[{"$nulls":3},-0.19989]

{"sheet":"initial + max temp","index":2,"n_rows":46,"n_cols":6,"rows_kept":46,"flags":["formulas_cached_only"]}
["maximum temperature in treatment region"]
[]
["baseline",34.3,35.9,33.9,33.9,34.3]
[{"$nulls":3},"treatment 1","treatment 2"]
[null,"dog 1","dog 2","dog 3 ","dog 3","dog 4"]
[]
[]
["rise",31.9627,47.6347,60.1326,61.389,68.6071]
[]
["max ",66.2627,83.5347,94.0326,95.289,102.9]
{"$rows_empty":35}
[null,130.6503,261.1783,126.5669,144.4798,73.7635]

{"sheet":"Exposure history","index":3,"n_rows":95,"n_cols":1,"rows_kept":95,"flags":["formulas_cached_only"]}
["Dog 1"]
[]
[]
["Power = 25 at 44964      test pulse for 67 seconds.,  silent for 101 seconds and 9W for 189  seconds"]
["Power = 0 at 45031"]
["Power = 75 at 45132"]
["Power = 76 at 45292"]
["Power = 78 at 45292"]
["Power = 80 at 45293"]
["Power = 81 at 45294"]
["Power = 0 at 45321"]
[]
[]
["Max power for this was set to 12W"]
[]
[]
["Dog2"]
[]
[]
["Power = 40 at 47458"]
["Power = 0 at 47474"]
["Power = 67 at 47539"]
["Power = 0 at 47605"]
["Power = 75 at 47623"]
["Power = 0 at 47650"]
["Power = 75 at 47685"]
["Power = 0 at 47704"]
["Power = 75 at 47726"]
["Power = 0 at 47818"]
["Power = 88 at 47865"]
["Power = 0 at 47889"]
["Power = 82 at 47915"]
["Power = 80 at 47920"]
["Power = 0 at 47943"]
[]
["6W for 16 seconds = 96 joules"]
["silent for 65 seconds"]
[]
["10.05 W for 66 seconds =663.3 J"]
["silent for 18 seconds"]
[]
["11.25W for 27 sec=303.75 J"]
["silent for 35 seconds"]
[]
["11.25W for  19 secs= 213.75 J"]
["silent for 22 seconds"]
[]
["11.25W for 92 sec=1035J"]
["silent for  47 secs"]
[]
["13.2W for 24 sec= 316.8J"]
["silent for 26 seconds"]
[]
["12W for 28 sec= 336J"]
[]
[]
["Dog3 "]
[]
["Kevinpath = /usr/local/Visualase/logs/"]
["file = lc_log_020507_8"]
["Image Path: /usr/local/Visualase/images/archive/02_05_07/s127864"]
["0r = i127873.MRDC.9"]
["0i = i127874.MRDC.10"]
["changes = 47991,151,1,1,0,1"]
["Power = 40 at 48072"]
["Power = 0 at 48093"]
["Power = 97 at 48166"]
["Power = 0 at 48199"]
["0              0"]
["1         i127865.MRDC.1     47987"]
["2         i127867.MRDC.3     47988"]
["3         i127869.MRDC.5     47989"]
["total mlats = 4"]
["path = /usr/local/Visualase/logs/"]
["file = lc_log_020507_9"]
["Image Path: /usr/local/Visualase/images/archive/02_05_07/s128475"]
["0r = i128484.MRDC.9"]
["0i = i128485.MRDC.10"]
["changes = 48821,146,1,1,0,1"]
["Power = 35 at 48859"]
["Power = 0 at 48890"]
["Power = 97 at 48914"]
["Power = 0 at 48944"]
["Power = 97 at 48949"]
["Power = 0 at 48957"]
["Power = 80 at 49044"]
["Power = 0 at 49089"]
["0              0"]
["1         i128476.MRDC.1     48817"]
["2         i128478.MRDC.3     48818"]
["3         i128480.MRDC.5     48819"]
["total mlats = 8"]
[]
[]
["Dog 4                        12.00 W   0:50"]

{"sheet":"temp uncertainty","index":4,"n_rows":8,"n_cols":5,"rows_kept":8,"flags":["formulas_cached_only"]}
["temp uncertainty"]
[]
[null,null,"treatment 1","treatment 2"]
["dog 1","dog 2","dog 3 ","dog 3","dog 4"]
[0.321038,0.76418,0.472106,1.9711,0.314678]
[{"$nulls":3},"(tissue already damaged by previous treatment)"]
[]
["1 ROI by laser on first 3 images, and then averaged"]

{"sheet":"Bland+Corr (pt1)","index":5,"n_rows":42,"n_cols":15,"rows_kept":42,"flags":["formulas_cached_only"]}
[]
[]
[null,"dog1 "]
[null,"day","post DCE T1 vol"]
[null,0,534.66796875,null,null,"day4"]
[null,4,1887,null,2,106.2,295.218,219,415,null,1,98.876,294.877,219,415]
[null,10,1536,null,3,186.156,321.141,232,440,null,2,192.259,320.006,232,440]
[null,16,1233,null,4,195.921,304.692,219,514,null,3,171.507,301.502,219,514]
[null,23,1044,null,5,151.366,318.411,249,415,null,4,142.211,316.734,249,415]
[null,39,543,null,null,1918.929,{"$nulls":5},1814.5590000000002]
[null,51,336,{"$nulls":5},1866.7440000000001]
[null,71,255]
[]
[null,"dog2"]
[null,0,842.07]
[null,3,2646]
[null,8,2544]
[null,14,1746]
[null,25,1710]
[null,36,1824,{"$nulls":3},"day71"]
[null,51,1653,{"$nulls":3},"area sq mm","measured by checking ventricle location"]
[null,71,1449,"# ventricle closeby",null,1,19.531,348.969,284,438]
[{"$nulls":5},2,44.556,448.603,263,669]
[{"$nulls":5},3,51.269,416.952,221,567]
[null,"dog3",{"$nulls":4},346.068]
[null,0,1536.2548828125]
[null,3,4083]
[null,10,3120]
[null,18,2295]
[null,25,1737]
[null,38,1548]
[null,52,1227]
[null,73,822]
[]
[]
[null,"dog4"]
[null,0,732]
[null,7,2760]
[null,14,1868]
[null,29,1092]
[null,43,948]
[null,57,624]

{"sheet":"Bland+Corr(pt2)","index":6,"n_rows":20,"n_cols":5,"rows_kept":20,"flags":["formulas_cached_only"]}
[]
[null,"vol"]
[null,"Arr","T1","average","diff"]
["dog1",485.83984375,534.66796875,510.25390625,48.828125]
["dog2",984.9,842.07,913.485,-142.82999999999993]
["dog3",1540.52734375,1536.2548828125,1538.39111328125,-4.2724609375]
["dog4",815.4296875,732,773.71484375,-83.4296875]
[]
[{"$nulls":3},"mean",-45.42600585937498]
[{"$nulls":3},"SD",84.67442222316774]
[{"$nulls":3},"2SD",169.34884444633548]
[{"$nulls":3},"mean +2SD",123.9228385869605]
[{"$nulls":3},"mean-2SD",-214.77485030571046]
[]
[]
[]
[]
[null,"mean","mean +2SD","mean-2SD"]
[0,-45.42600585937498,123.9228385869605,-214.77485030571046]
[2000,-45.42600585937498,123.9228385869605,-214.77485030571046]

{"sheet":"Damage area growth raw data","index":7,"n_rows":126,"n_cols":16,"rows_kept":126,"flags":["formulas_cached_only"]}
[]
["dog 1",{"$nulls":3},"dog 2",null,null,"dog 3A",null,null,"dog 3B",null,null,"dog 4"]
["damage area (in mm^2)","change in damage area","laser power (W)",{"$nulls":3},"laser power (W)",{"$nulls":7},"change in damage area"]
[0,0,3,null,0,0,6,0,null,null,0,null,null,0,0,0]
[0,0,3,null,0,0,6,0,null,null,0,null,null,0,0,0]
[0,0,3,null,0,0,6,0,null,null,0,null,null,0,0,0]
[0,0,3,null,0,0,0,0,null,null,3.6621,null,null,0,0,0]
[0,0,3,null,0,0,0,0,null,null,6.1035,null,null,0,0,0]
[0,0,3,null,0,0,0,0,null,null,6.7139,null,null,0,0,0]
[0,0,3,null,0,0,0,0,null,null,6.7139,null,null,0,0,0]
[0,0,3,null,0,0,0,0,null,null,8.5449,null,null,0,0,0]
[0,0,3,null,0,0,0,0,null,null,11.597,null,null,0,0,0]
[0,0,3,null,0,0,0,0,null,null,20.142,null,null,0,0,0]
[0,0,3,null,0,0,0,0,null,null,23.804,null,null,0,0,0]
[0,0,3,null,0,0,0,0,null,null,24.414,null,null,0,0,0]
[0,0.61035,3,null,0,0,0,0,null,null,26.245,null,null,0,0,0]
[0.61035,0,3,null,0,0,0,2.4414,null,null,27.466,null,null,0,0,0]
[0.61035,0,0,null,0,6.1035,0,7.3242,null,null,27.466,null,null,0,0,0]
[0.61035,0,0,null,6.1035,2.4414,0,9.1553,null,null,27.466,null,null,0,0,0]
[0.61035,0,0,null,8.5449,1.220699999999999,10.05,9.1553,null,null,27.466,null,null,0,0,0]
[0.61035,0,0,null,9.7656,0,10.05,9.1553,null,null,27.466,null,null,0,0,0]
[0.61035,0,0,null,9.7656,0.6104000000000003,10.05,9.1553,null,null,46.997,null,null,0,0,0]
[0.61035,0,0,null,10.376,0,10.05,9.1553,null,null,70.19,null,null,0,0,0]
[0.61035,0,0,null,10.376,0,10.05,9.1553,null,null,90.942,null,null,0,0,0]
[0.61035,0,0,null,10.376,0,10.05,9.1553,null,null,108.64,null,null,0,3.0518,0]
[0.61035,0,0,null,10.376,0,10.05,9.1553,null,null,119.02,null,null,3.0518,20.7522,12]
[0.61035,0,0,null,10.376,0,10.05,9.1553,null,null,128.17,null,null,23.804,17.7,12]
[0.61035,0,0,null,10.376,0,10.05,9.1553,null,null,133.67,null,null,41.504,13.428000000000004,12]
[0.61035,0,0,null,10.376,0,10.05,9.1553,null,null,136.72,null,null,54.932,14.037999999999997,12]
[0.61035,0,0,null,10.376,0,10.05,9.1553,null,null,136.72,null,null,68.97,4.882999999999996,12]
[0.61035,0,0,null,10.376,0,10.05,9.1553,null,null,136.72,null,null,73.853,12.817000000000007,12]
[0.61035,0,0,null,10.376,12.817000000000002,10.05,43.335,null,null,136.72,null,null,86.67,6.102999999999994,12]
[0.61035,0,0,null,23.193,12.818000000000001,0,68.97,null,null,136.72,null,null,92.773,4.88300000000001,12]
[0.61035,0,0,null,36.011,12.817,0,87.891,null,null,136.72,null,null,97.656,1.8309999999999889,12]
[0.61035,0,0,null,48.828,6.713999999999999,0,103.76,null,null,136.72,null,null,99.487,2.443000000000012,12]
[0.61035,0,0,null,55.542,5.492999999999995,0,114.75,null,null,136.72,null,null,101.93,0]
[0.61035,0,0,null,61.035,10.376000000000005,11.25,118.41,null,null,136.72,null,null,101.93,0]
[0.61035,0,9,null,71.411,8.545000000000002,11.25,118.41,null,null,136.72,null,null,101.93,0]
[0.61035,0,9,null,79.956,1.2210000000000036,11.25,118.41,null,null,136.72,null,null,101.93,0]
[0.61035,0,9,null,81.177,3.0519999999999925,11.25,118.41,null,null,136.72,null,null,101.93,0]
[0.61035,1.8310499999999998,9,null,84.229,4.882000000000005,11.25,118.41,null,null,136.72,null,null,101.93,0]
[2.4414,1.2207000000000003,9,null,89.111,2.441999999999993,0,118.41,null,null,136.72,null,null,101.93,0]
[3.6621,7.934899999999999,9,null,91.553,1.2199999999999989,0,118.41,null,null,136.72,null,null,101.93,0]
[11.597,6.714,9,null,92.773,0,0,118.41,null,null,136.72,null,null,101.93,0]
[18.311,4.8820000000000014,9,null,92.773,0,0,118.41,null,null,136.72,null,null,101.93,0]
[23.193,4.882999999999999,9,null,92.773,0,0,118.41,null,null,136.72,null,null,101.93,0]
[28.076,3.0519999999999996,9,null,92.773,0,0,118.41,null,null,137.33,null,null,101.93,0]
[31.128,7.9339999999999975,9,null,92.773,2.4420000000000073,0,118.41,null,null,137.33,null,null,101.93,0]
[39.062,1.2210000000000036,9,null,95.215,4.271999999999991,11.25,118.41,null,null,137.33,null,null,101.93,0]
[40.283,6.713999999999999,9,null,99.487,0,11.25,118.41,null,null,137.33,null,null,101.93,0]
[46.997,2.4410000000000025,9,null,99.487,0,11.25,118.41,null,null,137.94,null,null,101.93,0]
[49.438,3.0519999999999996,9,null,99.487,0,11.25,118.41,null,null,137.94,null,null,101.93,0]
[52.49,0,9,null,99.487,0,0,118.41,null,null,137.94,null,null,101.93,0]
[52.49,0,9,null,99.487,0,0,118.41,null,null,137.94,null,null,101.93,0]
[52.49,5.492999999999995,9,null,99.487,0,0,118.41,null,null,137.94,null,null,101.93,0]
[57.983,1.831000000000003,9,null,99.487,0,0,118.41,null,null,137.94,null,null,101.93,0]
[59.814,1.8320000000000007,9,null,99.487,0,11.25,118.41,null,null,137.94,null,null,101.93,0]
[61.646,1.830999999999996,9,null,99.487,0,11.25,118.41,null,null,137.94,null,null,101.93,0]
[63.477,0.6100000000000065,9,null,99.487,0,11.25,118.41,null,null,137.94,null,null,101.93,0]
[64.087,1.831000000000003,9,null,99.487,0,11.25,118.41,null,null,137.94,null,null,101.93,0]
[65.918,1.8309999999999889,9,null,99.487,0,11.25,{"$nulls":3},137.94,null,null,101.93,0]
[67.749,0,9,null,99.487,0,11.25,{"$nulls":3},137.94,null,null,101.93,0]
[67.749,1.2210000000000036,9,null,99.487,0,11.25,{"$nulls":3},137.94,null,null,101.93,0]
[68.97,1.831000000000003,9,null,99.487,0,11.25,{"$nulls":3},137.94,null,null,101.93,0]
[70.801,1.831000000000003,9,null,99.487,0,11.25,{"$nulls":3},137.94,null,null,101.93]
[72.632,0.6099999999999994,9,null,99.487,1.8329999999999984,11.25,{"$nulls":3},137.94]
[73.242,1.2209999999999894,9,null,101.32,3.0500000000000114,11.25,{"$nulls":3},137.94]
[74.463,0.6099999999999994,9,null,104.37,1.2199999999999989,11.25,{"$nulls":3},137.94]
[75.073,1.2210000000000036,9,null,105.59,3.049999999999997,11.25,{"$nulls":3},137.94]
[76.294,1.831000000000003,9.72,null,108.64,4.280000000000001,11.25,{"$nulls":3},137.94]
[78.125,0.6099999999999994,null,null,112.92,4.8799999999999955,11.25,{"$nulls":3},137.94]
[78.735,0.6110000000000042,null,null,117.8,3.049999999999997,11.25,{"$nulls":3},137.94]
[79.346,0,null,null,120.85,1.8300000000000125,11.25,{"$nulls":3},137.94]
[79.346,0,null,null,122.68,1.2199999999999989,11.25,{"$nulls":3},137.94]
[79.346,0,null,null,123.9,5.489999999999981,11.25,{"$nulls":3},137.94]
[79.346,0,null,null,129.39,2.450000000000017,0,{"$nulls":3},137.94]
[79.346,0,null,null,131.84,1.829999999999984,0,{"$nulls":3},137.94]
[79.346,0,null,null,133.67,1.2199999999999989,0,{"$nulls":3},137.94]
[79.346,0,null,null,134.89,0.6100000000000136,0]
[79.346,0,null,null,135.5,0,0]
[79.346,0,null,null,135.5,0,0]
[79.346,0,null,null,135.5,0,0]
[79.346,0,null,null,135.5,0,0]
[79.346,0,null,null,135.5,0,0]
[79.346,0,null,null,135.5,0,13.2]
[79.346,0,null,null,135.5,0,13.2]
[79.346,0,null,null,135.5,0,13.2]
[79.346,0,null,null,135.5,1.2199999999999989,13.2]
[79.346,0,null,null,136.72,0.6100000000000136,13.2]
[79.346,0,null,null,137.33,0,0]
[79.346,0,null,null,137.33,0,0]
[79.346,0,null,null,137.33,0,0]
[79.346,0,null,null,137.33,0,0]
[79.346,0,null,null,137.33,0,0]
[79.346,0,null,null,137.33,0,12]
[79.346,0,null,null,137.33,0.6099999999999852,12]
[79.346,0,null,null,137.94,2.4399999999999977,12]
[79.346,0,null,null,140.38,0,12]
[79.346,0,null,null,140.38,0,12]
[79.346,0,null,null,140.38,0,12]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,0,null,null,140.38,0]
[79.346,{"$nulls":3},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38,0]
[{"$nulls":4},140.38]

{"sheet":"Damage area_laser power plots","index":8,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Dog4 spatial profile","index":9,"n_rows":37,"n_cols":6,"rows_kept":37,"flags":["formulas_cached_only"]}
[null,null,"max temp 1x21",null,"thermal dose (1e11*)"]
[-7.03125,-9,17.4405,51.7405,4.75e-13,0]
[-6.25,-8,20.4836,54.78359999999999,2.899e-12,0]
[-5.46875,-7,26.3005,60.6005,9.7909e-11,1]
[-4.6875,-6,29.2504,63.550399999999996,1.032369e-09,1]
[-3.90625,-5,37.1388,71.4388,1.05319287e-07,1]
[-3.125,-4,41.4944,75.7944,1.989581562e-06,1]
[-2.34375,-3,51.6378,85.9378,0.00070006256,1]
[-1.5625,-2,48.0288,82.3288,9.814114e-05,1]
[-0.78125,-1,46.4049,80.7049,3.18068925e-05,1]
[0.78125,1,52.505,86.805,0.00167784064,1]
[1.5625,2,56.7606,91.0606,0.02604979456,1]
[2.34375,3,68.6071,102.9071,9.49427437568,1]
[3.125,4,58.1857,92.4857,0.03363604224,1]
[3.90625,5,48.6805,82.9805,0.00012982956,1]
[4.6875,6,36.2967,70.5967,1.12250742e-07,1]
[5.46875,7,27.0094,61.3094,2.54684e-10,1]
[6.25,8,19.8702,54.170199999999994,1.931e-12,0]
[7.03125,9,14.1616,48.4616,6.6e-14,0]
[7.8125,10,11.8795,46.1795,1.1e-14,0]
[8.59375,11,8.8377,43.137699999999995,2e-15,0]
[9.375,12,6.0481,40.348099999999995,0,0]
[]
[]
["laser fiber marking",null,"edema border"]
[-0.78124,0,-4.6874,0]
[-0.78125,200,-4.6875,200]
[-0.78126,0,-4.6876,0]
[0.78124,0,-3.124,0]
[0.78125,200,-3.125,200]
[0.78126,0,-3.126,0]
[null,null,3.90624,0]
[null,null,3.90625,200]
[null,null,3.90626,0]
[null,null,5.46874,0]
[null,null,5.48675,200]
[null,null,5.46876,0]

{"sheet":"temporaldata-dog1","index":10,"n_rows":113,"n_cols":21,"rows_kept":113,"flags":["formulas_cached_only"]}
["5x5 in contralateral lobe",{"$nulls":3},"damage map boundary pixels",{"$nulls":3},"1x5 away from fiber",{"$nulls":3},"1x5 away from fiber and heating",{"$nulls":3},"laser power (W)",null,null,"temperature uncertainty"]
["mean","std",null,null,"mean","std",null,null,"mean","std",null,null,"mean","std",{"$nulls":5},"mean","std"]
[0,0,null,null,0,0,null,null,0,0,null,null,0,0,null,null,0,null,null,"   -0.8790    1.1170"]
[-0.4321,0.8887,null,null,-0.5712,1.5096,null,null,-1.0323,1.0046,null,null,-1.0351,1.0703,null,null,0,null,null,"   -1.0482    1.1780"]
[-0.4234,0.8815,null,null,-0.4093,1.6584,null,null,-1.2101,1.1916,null,null,-1.1391,0.7297,null,null,0,null,null,"   -1.5000    1.3888"]
[0.116,0.7632,null,null,-1.0716,1.632,null,null,-2.4097,0.8888,null,null,-1.7328,0.6534,null,null,0,null,"stdev",0.32103812857665354]
[-0.1295,0.9309,null,null,-1.1525,1.3232,null,null,-1.7074,1.1951,null,null,-2.0889,0.7086,null,null,3]
[-0.0508,0.913,null,null,-1.5084,1.2729,null,null,-2.9577,1.0031,null,null,-1.5901,1.1942,null,null,3]
[-0.3901,0.6786,null,null,-1.9529,1.3822,null,null,-2.7043,1.3591,null,null,-2.6647,0.5858,null,null,3]
[-0.3262,0.6249,null,null,-2.5062,1.7992,null,null,-4.0527,1.577,null,null,-1.7708,0.6014,null,null,3]
[-0.2214,0.804,null,null,-2.1816,1.4812,null,null,-2.9882,1.3229,null,null,-2.7562,0.449,null,null,3]
[-0.0271,0.9767,null,null,-0.4315,1.7552,null,null,-0.9492,1.2351,null,null,-1.8137,0.5986,null,null,3]
[-0.4989,1.0759,null,null,-0.0296,1.3181,null,null,0.4165,1.9894,null,null,-2.7531,1.495,null,null,3]
[0.0469,0.933,null,null,0.9976,1.8247,null,null,1.1955,0.5729,null,null,-2.5117,0.7777,null,null,3]
[0.0367,0.9048,null,null,2.149,1.9467,null,null,2.8613,1.2771,null,null,-2.3631,1.207,null,null,3]
[0.1356,0.9401,null,null,2.453,1.6513,null,null,2.5621,1.1403,null,null,-2.2453,1.2034,null,null,3]
[-0.2208,1.0444,null,null,2.0683,1.5075,null,null,2.731,1.3581,null,null,-2.9837,1.6094,null,null,3]
[0.1458,0.7597,null,null,2.4284,1.3709,null,null,3.7428,1.6757,null,null,-2.2106,0.8435,null,null,3]
[-0.3459,1.1961,null,null,2.7632,1.5347,null,null,3.5577,1.8275,null,null,-2.1706,0.629,null,null,3]
[-0.4046,0.7849,null,null,2.8637,1.5186,null,null,3.9854,1.0164,null,null,-3.2078,1.0023,null,null,3]
[-0.3335,1.0615,null,null,3.0663,1.5893,null,null,3.6261,1.3108,null,null,-2.4174,1.5558,null,null,0]
[-0.1212,0.7409,null,null,3.9202,1.3526,null,null,5.0135,1.4527,null,null,-3.5043,1.1822,null,null,0]
[-0.3375,1.0761,null,null,2.4071,2.3826,null,null,1.9106,1.1318,null,null,-3.593,1.1664,null,null,0]
[-0.484,1.0289,null,null,1.5944,1.722,null,null,0.934,0.99,null,null,-3.7317,1.2558,null,null,0]
[0.2714,0.7199,null,null,0.9215,1.6658,null,null,0.2056,1.4253,null,null,-3.577,0.8582,null,null,0]
[-0.4033,1.0689,null,null,-0.4118,2.3965,null,null,-0.2339,1.3998,null,null,-3.4993,0.9207,null,null,0]
[-0.2534,1.1419,null,null,-0.9567,1.358,null,null,-1.9258,1.1944,null,null,-3.9907,1.2286,null,null,0]
[-0.4945,0.8024,null,null,-0.7893,1.5778,null,null,-1.9321,1.734,null,null,-4.7881,1.1229,null,null,0]
[-0.2165,0.8302,null,null,-1.3895,1.8814,null,null,-3.079,1.3703,null,null,-4.4998,0.8777,null,null,0]
[-0.1693,1.0116,null,null,-2.0082,1.7166,null,null,-2.3512,1.4879,null,null,-5.0606,1.4145,null,null,0]
[-0.3093,0.8694,null,null,-2.5773,1.7927,null,null,-3.7445,1.3365,null,null,-4.2547,1.0301,null,null,0]
[-0.7529,0.8034,null,null,-2.2348,1.7373,null,null,-3.6842,0.934,null,null,-4.7564,1.0008,null,null,0]
[-0.5203,1.0934,null,null,-2.9575,1.4854,null,null,-4.4846,1.2953,null,null,-4.8948,1.5754,null,null,0]
[-0.5753,0.7928,null,null,-2.4718,2.0377,null,null,-4.2353,1.3227,null,null,-4.8909,1.085,null,null,0]
[-0.28,0.8237,null,null,-3.486,1.8172,null,null,-4.385,1.2497,null,null,-3.9871,0.8154,null,null,0]
[-0.5826,0.9419,null,null,-3.0656,1.6604,null,null,-5.094,1.1836,null,null,-5.0234,1.2813,null,null,0]
[-0.3429,1.2248,null,null,-3.273,1.91,null,null,-5.8537,0.7643,null,null,-4.274,1.244,null,null,0]
[-0.4609,0.9838,null,null,-3.2099,1.5455,null,null,-4.6761,0.7964,null,null,-5.3288,0.9893,null,null,0]
[-0.2715,0.7237,null,null,-3.5877,1.1597,null,null,-4.6459,1.3921,null,null,-4.5547,1.1462,null,null,0]
[-0.1599,0.8863,null,null,0.7427,2.7528,null,null,1.8855,1.8569,null,null,-3.9737,1.1926,null,null,0]
[0.2483,0.8773,null,null,3.2667,2.4526,null,null,5.8891,2.0438,null,null,-3.6089,1.3082,null,null,9]
[-0.2476,0.7848,null,null,6.3482,2.6045,null,null,10.2695,2.4757,null,null,-3.3887,0.8225,null,null,9]
[0.1721,1.0921,null,null,8.5618,4.9769,null,null,12.0427,1.8253,null,null,-4.1694,1.2856,null,null,9]
[-0.3161,1.0431,null,null,10.3781,3.6662,null,null,14.5949,2.8307,null,null,-3.6359,1.4964,null,null,9]
[-0.1015,0.9578,null,null,12.3165,3.5517,null,null,16.6895,2.8598,null,null,-4.4062,1.8198,null,null,9]
[-0.5648,0.8595,null,null,12.6684,3.5458,null,null,18.0388,3.0114,null,null,-4.6474,0.9437,null,null,9]
[-0.0698,0.9702,null,null,14.32,2.957,null,null,20.5524,4.1515,null,null,-5.3702,0.8778,null,null,9]
[-0.1487,1.0533,null,null,14.1989,3.1017,null,null,20.55,3.6366,null,null,-5.1659,1.2351,null,null,9]
[-0.4736,0.9398,null,null,15.5169,2.6274,null,null,22.7141,3.9393,null,null,-5.9264,1.4124,null,null,9]
[-0.0421,0.692,null,null,16.7499,2.3132,null,null,23.9929,5.1822,null,null,-5.6321,1.5115,null,null,9]
[-0.6119,0.8748,null,null,17.1352,3.2887,null,null,22.2373,2.771,null,null,-6.3704,1.8026,null,null,9]
[-0.6399,0.7587,null,null,17.6165,3.1277,null,null,24.9127,4.9334,null,null,-6.1295,1.6826,null,null,9]
[-0.3811,1.0972,null,null,17.7228,2.8502,null,null,24.8029,4.4579,null,null,-5.7743,1.7553,null,null,9]
[-0.0714,1.0097,null,null,19.2945,3.2982,null,null,26.0494,3.428,null,null,-6.0774,1.6565,null,null,9]
[0.0389,0.778,null,null,19.7453,4.5733,null,null,26.0939,4.8892,null,null,-5.2353,1.4746,null,null,9]
[-0.3391,0.9657,null,null,18.9406,3.3537,null,null,24.7902,3.8326,null,null,-5.5183,1.4136,null,null,9]
[0.0196,0.8638,null,null,19.535,3.2268,null,null,26.277,3.9249,null,null,-5.1857,1.8392,null,null,9]
[-0.0846,0.9972,null,null,20.079,2.6328,null,null,27.1943,5.5141,null,null,-5.2163,1.8501,null,null,9]
[-0.3682,0.768,null,null,19.8021,3.0862,null,null,26.7549,4.38,null,null,-5.7599,1.2528,null,null,9]
[-0.1215,0.984,null,null,20.4435,3.2792,null,null,28.8553,5.1602,null,null,-5.4186,1.2832,null,null,9]
[-0.3739,0.9302,null,null,20.3119,3.3702,null,null,26.7065,3.5063,null,null,-6.4868,1.8471,null,null,9]
[-0.0986,1.11,null,null,20.2058,2.9686,null,null,27.1988,4.0841,null,null,-5.1229,1.4825,null,null,9]
[0.0611,1.0864,null,null,20.7661,3.2277,null,null,28.2033,4.0048,null,null,-4.8255,1.5364,null,null,9]
[-0.5769,1.2804,null,null,20.8552,2.9147,null,null,27.9682,3.8214,null,null,-5.5293,1.6802,null,null,9]
[-0.3185,0.7911,null,null,20.3762,3.4624,null,null,28.4671,3.573,null,null,-6.1818,1.9186,null,null,9]
[-0.4269,1.0181,null,null,21.0179,2.6656,null,null,28.8104,4.4692,null,null,-5.3045,1.1969,null,null,9]
[-0.3589,0.9406,null,null,21.4599,3.6067,null,null,29.2628,3.6229,null,null,-5.6953,1.3714,null,null,9]
[0.211,1.0731,null,null,22.3521,3.3767,null,null,31.9627,6.1621,null,null,-4.5541,1.4939,null,null,9]
[-0.0174,0.8273,null,null,22.2722,4.5808,null,null,29.7815,4.4104,null,null,-4.7242,1.4428,null,null,9]
[-0.2896,0.8918,null,null,22.5566,4.9897,null,null,28.0515,2.0895,null,null,-5.2878,1.5379,null,null,9]
[-0.1967,1.1636,null,null,22.1785,2.7008,null,null,29.6268,4.7841,null,null,-5.4449,1.5685,null,null,9]
[-0.0092,0.8798,null,null,18.0521,2.7025,null,null,21.1855,4.4289,null,null,-5.1948,1.7658,null,null,9]
[-0.2319,0.8325,null,null,14.9307,2.7475,null,null,16.3015,2.7942,null,null,-6.0706,2.199,null,null,9.72]
[-0.0415,0.933,null,null,11.6646,3.1397,null,null,12.6338,2.7141,null,null,-6.8524,1.451]
[-0.4197,0.9848,null,null,9.325,3.0372,null,null,9.9199,2.4091,null,null,-6.8915,1.386]
[-0.4874,0.9301,null,null,7.6596,2.624,null,null,7.3997,2.1597,null,null,-6.9025,1.6336]
[-0.1289,0.8892,null,null,6.6438,2.1668,null,null,6.3878,2.1928,null,null,-6.9959,1.5257]
[-0.1513,0.8213,null,null,4.8596,2.6009,null,null,4.6688,2.8075,null,null,-8.0091,1.9243]
[-0.3017,1.0833,null,null,3.2899,3.0924,null,null,2.848,2.5675,null,null,-7.0355,1.616]
[-0.8214,0.7544,null,null,2.8346,2.503,null,null,2.4838,2.2831,null,null,-7.9701,1.8196]
[-0.1456,0.6648,null,null,2.0581,2.4746,null,null,1.7697,2.1028,null,null,-7.506,1.4605]
[-0.0433,0.8515,null,null,1.4492,2.6688,null,null,0.3918,1.8691,null,null,-7.2212,1.6785]
[-0.2059,1.068,null,null,1.0418,2.6316,null,null,0.4314,1.7953,null,null,-6.8908,1.3352]
[-0.4042,1.0351,null,null,0.255,2.4943,null,null,-0.2744,1.6493,null,null,-8.0076,1.6149]
[-0.2777,0.89,null,null,-0.2505,2.7768,null,null,-1.0946,1.2217,null,null,-8.0232,1.5191]
[-0.4227,0.874,null,null,-0.6817,2.3171,null,null,-2.2614,1.4802,null,null,-7.9686,1.4376]
[-0.8933,1.0204,null,null,-0.7173,2.3857,null,null,-1.7382,1.9321,null,null,-7.7219,1.502]
[-0.6736,0.799,null,null,-0.8198,2.3538,null,null,-2.53,1.6055,null,null,-8.2592,1.3425]
[-0.2998,0.6657,null,null,-1.3905,2.9969,null,null,-2.8023,2.0799,null,null,-8.215,1.3562]
[-0.3569,0.7576,null,null,-1.2397,2.354,null,null,-3.3331,1.5218,null,null,-7.951,1.5262]
[-0.4705,0.8609,null,null,-1.9535,2.3899,null,null,-2.2223,1.5979,null,null,-8.5949,1.6374]
[-0.3602,0.8916,null,null,-1.5645,2.4412,null,null,-2.4376,1.2042,null,null,-7.2548,1.248]
[-0.0944,0.9437,null,null,-1.0371,2.5045,null,null,-2.6634,1.3401,null,null,-6.4336,1.9105]
[-0.9616,0.9476,null,null,-0.8332,2.7029,null,null,-1.7414,1.1997,null,null,-6.3108,1.6402]
[-0.7214,0.8828,null,null,-0.5051,2.8015,null,null,-0.5537,2.3281,null,null,-5.2999,1.0615]
[-0.2847,0.7449,null,null,-0.2878,2.8717,null,null,-0.2795,1.478,null,null,-5.3152,1.5772]
[-0.8237,0.6384,null,null,-0.2466,2.7237,null,null,-0.0071,1.544,null,null,-4.7356,1.9677]
[-0.6879,0.9248,null,null,0.3549,3.1477,null,null,0.1337,1.6311,null,null,-4.8701,1.3059]
[-0.6972,1.1194,null,null,0.3454,3.3086,null,null,1.4315,2.0446,null,null,-4.4719,0.9738]
[-0.7288,1.1189,null,null,0.259,3.117,null,null,0.7591,1.7735,null,null,-3.6326,1.6451]
[-0.5916,0.728,null,null,0.6504,3.0012,null,null,0.9894,1.4067,null,null,-3.8288,1.1464]
[-0.5308,1.069,null,null,0.7055,2.9759,null,null,1.4888,2.8228,null,null,-3.288,1.5511]
[-0.4354,0.7797,null,null,0.2616,3.3858,null,null,0.7198,1.5324,null,null,-4.0726,1.4739]
[-0.9628,0.9558,null,null,1.1113,3.5032,null,null,1.3975,1.753,null,null,-3.848,1.9609]
[-0.5385,0.7118,null,null,1.2532,2.6698,null,null,2.2992,1.9619,null,null,-3.6694,1.357]
[-0.4215,0.8869,null,null,0.8086,3.1353,null,null,0.879,1.2736,null,null,-3.0889,1.3424]
[-0.3647,0.6603,null,null,1.0162,3.1646,null,null,1.4217,1.5325,null,null,-3.0345,1.5606]
[-0.7832,0.6746,null,null,1.0389,2.9399,null,null,2.0669,1.5406,null,null,-3.8902,1.6257]
[-0.2878,1.0736,null,null,1.6905,2.6616,null,null,3.1139,1.5242,null,null,-2.7431,1.1659]
[-0.1802,0.9309,null,null,1.3756,3.0484,null,null,0.99,1.8464,null,null,-2.7921,1.2701]
[-0.0275,0.9368,null,null,1.991,3.0788,null,null,2.3936,1.4493,null,null,-3.5205,1.9195]
[-1.0881,0.8261,null,null,1.0322,2.9784,null,null,1.9202,2.1643,null,null,-3.6014,1.482]
[-0.4504,0.7434,null,null,1.6316,3.0201,null,null,2.2007,1.6581,null,null,-3.8588,1.4383]

{"sheet":"temporaldata-dog2","index":11,"n_rows":125,"n_cols":21,"rows_kept":125,"flags":["formulas_cached_only"]}
["5x5 in contralateral lobe",{"$nulls":3},"damage map boundary pixels",{"$nulls":3},"1x5 away from fiber",{"$nulls":3},"1x5 away from fiber and heating",{"$nulls":3},"laser power (W)",null,null,"temperature uncertainty"]
["mean","std",null,null,"mean","std",null,null,"mean","std",null,null,"mean","std",{"$nulls":5},"mean","std"]
[0,0,null,null,0,0,null,null,0,0,null,null,0,0,null,null,6,null,null,"   -0.8990    2.0956"]
[0.3359,1.625,null,null,-0.6736,4.4802,null,null,-1.0216,1.199,null,null,-0.2577,1.7301,null,null,6,null,null,"    0.5975    2.4218"]
[0.4178,1.548,null,null,0.1285,5.5242,null,null,0.7536,2.6292,null,null,-1.1474,2.2134,null,null,6,null,null,"    0.1181    1.9032"]
[0.8002,1.1714,null,null,0.567,4.318,null,null,-0.1208,2.4501,null,null,1.9197,1.6695,null,null,0,null,"stdev",0.764180281957951]
[0.7349,1.5882,null,null,-0.2604,2.3475,null,null,-0.0322,1.1468,null,null,-1.6417,1.9076,null,null,0]
[2.4481,2.1584,null,null,0.8512,4.9838,null,null,-0.7885,1.2947,null,null,0.8161,1.7601,null,null,0]
[1.9367,1.4382,null,null,1.5645,5.0064,null,null,0.071,3.042,null,null,-0.0619,2.604,null,null,0]
[1.2086,1.7824,null,null,-0.4729,2.2816,null,null,-1.0993,0.9911,null,null,-1.8076,0.9716,null,null,0]
[1.2286,1.9445,null,null,0.4958,6.0128,null,null,1.9109,1.0028,null,null,-2.6037,1.3787,null,null,0]
[2.0231,1.3754,null,null,-0.657,5.0343,null,null,-2.1813,3.5526,null,null,-5.4873,1.0649,null,null,0]
[-0.3763,1.3239,null,null,-2.2661,3.2963,null,null,-4.0918,1.9294,null,null,-5.9374,2.7623,null,null,0]
[0.3043,1.8125,null,null,-2.1232,5.5514,null,null,-4.3693,3.0864,null,null,-6.8772,3.0778,null,null,0]
[0.9376,1.6948,null,null,-2.4896,5.069,null,null,-6.2628,3.0488,null,null,-2.4622,2.4096,null,null,0]
[0.5918,1.7016,null,null,-2.6733,4.7876,null,null,-5.9025,1.786,null,null,-4.8789,3.0356,null,null,0]
[0.1785,1.2874,null,null,-2.8881,4.7468,null,null,-4.8722,1.6249,null,null,-5.591,1.8369,null,null,0]
[2.2874,1.8309,null,null,-0.2011,4.773,null,null,10.5159,3.3723,null,null,-4.5415,2.4643,null,null,0]
[1.7147,2.1011,null,null,1.353,4.9629,null,null,12.8027,2.5568,null,null,-5.1199,3.1331,null,null,10.05]
[1.5659,1.6118,null,null,-0.9019,3.3044,null,null,8.7929,1.0197,null,null,-7.2933,1.6699,null,null,10.05]
[0.2169,2.0963,null,null,-0.973,5.2565,null,null,3.4531,1.4153,null,null,-4.9085,1.2795,null,null,10.05]
[0.7187,1.6311,null,null,-0.9332,7.352,null,null,-2.7161,1.4606,null,null,-8.2211,3.4809,null,null,10.05]
[0.5011,1.6603,null,null,-1.3507,4.7903,null,null,-5.8036,2.4746,null,null,-7.2862,1.8225,null,null,10.05]
[1.0522,1.2881,null,null,-2.5198,5.2294,null,null,-3.449,1.6956,null,null,-8.0643,1.311,null,null,10.05]
[0.7039,1.6519,null,null,-3.2921,6.767,null,null,-6.4574,2.0204,null,null,-7.4416,2.9995,null,null,10.05]
[-0.2312,1.4892,null,null,-3.8422,4.9189,null,null,-4.8146,1.9498,null,null,-7.715,1.207,null,null,10.05]
[1.9788,1.4536,null,null,-3.9562,7.8125,null,null,-7.7572,3.3724,null,null,-5.1365,4.0506,null,null,10.05]
[1.3537,2.1688,null,null,-5.0142,5.2117,null,null,-7.4843,2.0694,null,null,-6.4263,2.8529,null,null,10.05]
[0.9884,1.0212,null,null,-2.5379,5.4726,null,null,-7.6228,2.6759,null,null,-8.6692,2.05,null,null,10.05]
[0.35,1.1721,null,null,-4.6843,4.691,null,null,-7.5601,2.0794,null,null,-6.3376,1.7115,null,null,10.05]
[1.1983,2.1048,null,null,-1.622,4.8387,null,null,7.0775,4.5549,null,null,-6.5265,2.7889,null,null,10.05]
[1.3145,1.8505,null,null,0.8408,4.8868,null,null,26.6521,6.2935,null,null,-4.7068,2.6707,null,null,0]
[0.4495,1.5298,null,null,3.2765,5.8199,null,null,31.5962,6.1528,null,null,-5.9694,2.651,null,null,0]
[-0.3388,1.6086,null,null,5.265,4.209,null,null,35.738,4.8332,null,null,-5.3651,1.826,null,null,0]
[-0.1765,1.5191,null,null,8.3326,4.3306,null,null,40.0783,3.3478,null,null,-6.2362,1.5034,null,null,0]
[0.7812,1.5549,null,null,8.1871,6.2039,null,null,42.2776,4.2188,null,null,-6.4918,1.4373,null,null,11.25]
[-0.2689,0.9957,null,null,9.1073,4.4176,null,null,43.8759,5.0434,null,null,-4.9844,2.0391,null,null,11.25]
[-0.351,1.37,null,null,13.4051,6.3926,null,null,43.2135,3.1775,null,null,-6.3311,2.2498,null,null,11.25]
[-0.681,1.6853,null,null,9.5129,5.3463,null,null,46.3437,5.0403,null,null,-5.5927,2.1583,null,null,11.25]
[-0.4229,1.415,null,null,11.4157,6.0881,null,null,47.3119,4.0216,null,null,-4.7684,1.1846,null,null,11.25]
[0.3415,1.3471,null,null,12.9028,6.6234,null,null,44.7613,3.3483,null,null,-6.1581,2.1232,null,null,0]
[-0.1578,2.672,null,null,9.51,4.6124,null,null,31.6659,3.9668,null,null,-4.9297,1.6458,null,null,0]
[0.0868,1.7386,null,null,9.1994,6.8808,null,null,19.734,3.668,null,null,-10.0895,2.9296,null,null,0]
[-0.3502,1.6174,null,null,5.5093,5.9444,null,null,11.5235,3.4344,null,null,-8.9989,1.7267,null,null,0]
[-0.2705,1.3426,null,null,6.6088,5.3099,null,null,23.4363,3.3114,null,null,-6.4289,1.0841,null,null,0]
[0.0464,1.3884,null,null,6.2279,3.9225,null,null,35.5426,5.7676,null,null,-5.8597,1.5615,null,null,0]
[-0.4246,1.2159,null,null,10.5828,3.704,null,null,39.9507,6.1103,null,null,-5.5359,1.3212,null,null,0]
[-0.5919,2.0445,null,null,9.8428,5.6517,null,null,47.5157,7.4178,null,null,-4.5607,1.7041,null,null,11.25]
[-0.3968,1.0642,null,null,13.0311,4.2714,null,null,47.6347,4.0756,null,null,-3.5223,1.1109,null,null,11.25]
[0.7955,1.7895,null,null,10.4725,4.9883,null,null,28.1335,4.5064,null,null,-5.5178,1.5503,null,null,11.25]
[0.1232,1.5687,null,null,6.4073,5.7789,null,null,15.8173,4.46,null,null,-6.358,1.9339,null,null,11.25]
[0.6767,1.7673,null,null,4.6413,7.1009,null,null,9.1699,4.8174,null,null,-9.1379,1.7928,null,null,0]
[0.2265,1.595,null,null,3.3517,7.2902,null,null,5.0596,4.5294,null,null,-7.2166,1.5235,null,null,0]
[0.1172,1.7053,null,null,0.6462,4.4707,null,null,0.8881,4.7297,null,null,-6.8237,1.9909,null,null,0]
[-0.8942,1.4936,null,null,0.814,5.7271,null,null,6.9317,1.4216,null,null,-7.7966,3.6563,null,null,0]
[-0.6554,1.566,null,null,4.4121,4.595,null,null,24.7807,4.4423,null,null,-7.27,1.018,null,null,11.25]
[-0.484,1.577,null,null,5.9713,3.4091,null,null,35.6474,4.2985,null,null,-4.7581,1.6957,null,null,11.25]
[0.5774,1.0495,null,null,8.2261,4.9499,null,null,38.4637,5.0149,null,null,-5.0087,1.7471,null,null,11.25]
[-0.2076,1.8952,null,null,4.2974,4.0812,null,null,20.9543,3.4498,null,null,-7.9826,1.5711,null,null,11.25]
[-1.0133,1.7152,null,null,6.0437,5.5208,null,null,12.126,3.328,null,null,-7.3481,1.6269,null,null,11.25]
[-0.2563,1.5317,null,null,1.6174,6.325,null,null,3.8684,5.3721,null,null,-6.9591,1.8392,null,null,11.25]
[0.6746,1.8025,null,null,2.5992,4.7297,null,null,14.0954,1.9659,null,null,-7.6425,2.081,null,null,11.25]
[-0.9364,1.5174,null,null,5.8332,4.2931,null,null,32.8462,4.5868,null,null,-8.3912,1.2748,null,null,11.25]
[-1.1612,1.0473,null,null,5.928,4.0881,null,null,40.6238,6.7071,null,null,-7.4547,2.0224,null,null,11.25]
[-1.2872,1.1628,null,null,7.2165,5.0572,null,null,44.7368,4.1883,null,null,-6.9984,2.0864,null,null,11.25]
[-1.5318,1.4869,null,null,11.5974,6.4983,null,null,46.1318,5.104,null,null,-6.2305,2.3616,null,null,11.25]
[-0.2412,1.8449,null,null,11.2057,7.2261,null,null,52.3778,6.144,null,null,-4.2116,1.9363,null,null,11.25]
[-0.5535,2.3081,null,null,11.0182,4.6346,null,null,52.2637,6.2757,null,null,-3.4054,2.5986,null,null,11.25]
[-0.7549,1.413,null,null,14.5651,4.6407,null,null,56.1544,8.952,null,null,-5.4973,1.9587,null,null,11.25]
[0.5845,2.0697,null,null,15.4236,4.3293,null,null,52.2505,5.8002,null,null,-2.7055,2.3577,null,null,11.25]
[0.2232,1.7056,null,null,17.8366,5.4124,null,null,57.4954,4.6761,null,null,-4.3098,1.9536,null,null,11.25]
[-0.8361,1.453,null,null,14.4835,6.7791,null,null,57.5687,4.4967,null,null,-4.397,1.0303,null,null,11.25]
[-0.7297,1.9605,null,null,15.4503,5.1363,null,null,60.2299,5.2994,null,null,-4.747,1.5728,null,null,11.25]
[-0.9187,1.4886,null,null,18.6783,4.4033,null,null,57.9455,6.5593,null,null,-5.1648,1.5756,null,null,11.25]
[-0.479,1.7971,null,null,15.3818,6.1631,null,null,58.8729,5.6733,null,null,-4.5395,0.6388,null,null,0]
[-1.5209,1.4362,null,null,15.4297,6.744,null,null,61.7346,4.6637,null,null,-6.8619,2.954,null,null,0]
[-0.9909,1.408,null,null,16.8834,7.3265,null,null,60.266,7.2163,null,null,-6.8258,3.8424,null,null,0]
[-1.8303,1.2561,null,null,13.112,7.3979,null,null,35.184,6.0955,null,null,-8.0527,1.9722,null,null,0]
[-1.9227,1.6074,null,null,11.2574,6.237,null,null,24.9394,6.5662,null,null,-9.1961,2.6824,null,null,0]
[-1.9324,1.2468,null,null,7.0946,6.4701,null,null,14.8059,4.4115,null,null,-9.1008,2.0246,null,null,0]
[-1.2639,1.6389,null,null,5.9972,5.422,null,null,9.0688,3.6436,null,null,-8.8004,1.6414,null,null,0]
[-0.7748,1.5045,null,null,3.2096,7.4481,null,null,5.1113,4.7446,null,null,-9.7989,1.7971,null,null,0]
[-1.7063,1.9915,null,null,1.2406,6.4079,null,null,0.5032,3.7146,null,null,-9.2194,1.6412,null,null,0]
[-1.9742,1.4068,null,null,0.8152,5.1364,null,null,-0.9847,4.5089,null,null,-7.8169,2.4451,null,null,13.2]
[-1.682,1.6474,null,null,-1.358,7.4655,null,null,3.3527,2.0907,null,null,-8.6907,2.0539,null,null,13.2]
[-1.7929,1.8317,null,null,3.5378,3.7251,null,null,28.7049,5.9385,null,null,-7.8695,3.1474,null,null,13.2]
[-0.9258,1.7728,null,null,11.1901,4.6659,null,null,41.4129,3.2852,null,null,-4.6969,1.8812,null,null,13.2]
[-0.6346,0.9868,null,null,17.3151,6.9527,null,null,64.6325,36.1741,null,null,-5.6005,1.8333,null,null,13.2]
[-0.4077,1.2498,null,null,14.8286,11.1898,null,null,41.6082,36.0051,null,null,-5.9176,3.139,null,null,0]
[-1.6494,1.4649,null,null,10.9704,5.9763,null,null,19.1901,37.166,null,null,-7.906,2.6563,null,null,0]
[-1.5382,1.7426,null,null,6.0561,7.1587,null,null,-2.6478,42.2531,null,null,-8.363,1.6661,null,null,0]
[-2.314,1.7197,null,null,5.9459,6.6943,null,null,-6.2158,43.9666,null,null,-10.0923,2.6379,null,null,0]
[-1.518,2.0363,null,null,2.3522,5.3212,null,null,-13.7508,42.5325,null,null,-9.0503,1.8777,null,null,0]
[-2.2901,1.8291,null,null,9.3781,5.3128,null,null,6.4091,48.2547,null,null,-11.4603,1.4619,null,null,12]
[-2.1516,1.8991,null,null,10.5934,5.7658,null,null,-1.5534,56.5154,null,null,-8.5031,1.8415,null,null,12]
[-0.6148,1.5788,null,null,16.4268,9.1773,null,null,9.2681,61.0394,null,null,-9.0414,1.4131,null,null,12]
[-0.4038,1.6995,null,null,19.1454,7.0771,null,null,4.9578,62.9152,null,null,-10.0092,3.5274,null,null,12]
[-1.4405,2.0146,null,null,16.7202,10.902,null,null,-11.2095,69.3265,null,null,-9.653,3.1835,null,null,12]
[0.057,1.5109,null,null,12.1465,4.8831,null,null,-24.2728,64.2121,null,null,-11.1512,2.3431,null,null,12]
[-0.768,1.6544,null,null,7.8258,6.4975,null,null,-33.298,58.4301,null,null,-8.5817,1.5125]
[-2.0086,2.0894,null,null,5.9894,5.6021,null,null,-39.8137,57.3358,null,null,-10.1801,1.6145]
[-0.7316,1.6913,null,null,2.6472,7.345,null,null,-44.5188,54.7747,null,null,-8.2571,3.0415]
[-1.9134,1.7218,null,null,1.2489,5.7003,null,null,-49.473,54.4053,null,null,-10.3079,1.5152]
[-2.3465,1.7988,null,null,1.3179,5.1583,null,null,-51.8348,56.1255,null,null,-8.3724,2.037]
[-1.1123,2.0335,null,null,-0.5424,5.4212,null,null,-54.3484,54.9938,null,null,-7.7285,1.9828]
[-1.9177,1.6979,null,null,-2.0058,4.8109,null,null,-56.1131,54.4997,null,null,-9.6114,2.1582]
[-1.6392,2.2834,null,null,-3.7097,5.428,null,null,-58.7805,56.1351,null,null,-9.7934,2.5855]
[-1.4627,1.0678,null,null,-4.6968,4.6291,null,null,-57.7688,55.3621,null,null,-10.1672,1.7036]
[-0.8243,1.8236,null,null,-4.358,6.4558,null,null,-60.4281,54.0788,null,null,-8.4816,1.7545]
[-1.0492,1.163,null,null,-4.3186,4.8243,null,null,-60.2916,55.4327,null,null,-12.1275,2.3093]
[-1.0181,1.5408,null,null,-4.4235,5.4522,null,null,-61.1254,55.9509,null,null,-9.2959,2.9844]
[-1.6185,1.8679,null,null,-4.8264,4.3259,null,null,-64.4306,57.4603,null,null,-12.154,3.8177]
[-1.7535,1.1916,null,null,-5.7713,6.3615,null,null,-62.396,55.7751,null,null,-8.6683,2.0744]
[-3.1029,1.6476,null,null,-6.1292,4.9237,null,null,-61.9786,55.8757,null,null,-9.4176,3.1357]
[-2.5091,1.6557,null,null,-6.8031,6.0292,null,null,-62.0513,56.2077,null,null,-11.6813,2.5172]
[-3.0975,1.8488,null,null,-6.7963,4.7536,null,null,-64.0769,57.0047,null,null,-13.4934,2.7622]
[-3.1765,2.1167,null,null,-6.3989,5.1216,null,null,-63.4631,55.165,null,null,-12.003,2.1283]
[-1.4734,1.3752,null,null,-7.0832,6.598,null,null,-64.2078,55.9361,null,null,-12.9633,1.6622]
[-2.5092,1.2893,null,null,-6.8018,4.6472,null,null,-64.4147,56.7636,null,null,-9.6359,1.9819]
[-3.4089,1.7186,null,null,-6.0676,4.5785,null,null,-64.2019,54.9738,null,null,-10.9276,2.0608]
[-2.604,2.4038,null,null,-7.4429,5.1768,null,null,-64.7776,55.7276,null,null,-10.3335,1.8893]
[-3.2267,1.4506,null,null,-6.7758,4.4135,null,null,-65.4399,56.5195,null,null,-10.4899,2.3995]
[-2.8936,2.1349,null,null,-8.0593,5.6595,null,null,-65.4451,57.4416,null,null,-12.3101,2.4097]
[-2.3455,1.1355,null,null,-7.478,5.1176,null,null,-65.0598,56.0574,null,null,-10.7396,2.7831]
[-1.9957,1.4006,null,null,-8.4959,5.6669,null,null,-66.1364,56.6521,null,null,-10.3225,3.6049]

{"sheet":"temporaldata-dog3a","index":12,"n_rows":59,"n_cols":14,"rows_kept":59,"flags":["formulas_cached_only"]}
["5x5 in contralateral lobe",{"$nulls":3},"damage map boundary pixels",{"$nulls":3},"1x5 away from fiber",{"$nulls":3},"temperature uncertainty"]
["mean","std",null,null,"mean","std",null,null,"mean","std",null,null,"mean","std"]
[0,0,null,null,0,0,null,null,0,0,null,null,"   -0.3345    1.5596"]
[-0.2156,1.5394,null,null,-0.6821,1.2917,null,null,-1.0673,1.9082,null,null,"   -1.1119    1.8540"]
[0.0376,1.5658,null,null,-1.2976,1.5739,null,null,-0.1387,2.5462,null,null,"   -0.2591    1.3050"]
[0.9474,1.6121,null,null,-0.9059,1.7933,null,null,0.3569,2.3418,null,"stdev",0.47210587795535863]
[0.5165,1.5338,null,null,-2.4938,1.6374,null,null,-1.4049,2.499]
[0.375,1.4337,null,null,-1.178,1.5916,null,null,-1.8274,1.9414]
[0.023,1.0319,null,null,-2.1498,1.5764,null,null,-0.8123,3.4067]
[-0.2085,0.9672,null,null,-1.6877,1.5687,null,null,-2.5569,1.9502]
[0.5431,1.1971,null,null,-2.1216,2.1633,null,null,-0.4682,3.347]
[0.0505,1.2842,null,null,-1.9625,1.6108,null,null,-0.6262,2.4588]
[0.1155,1.3623,null,null,-1.9084,1.7916,null,null,-3.604,2.0521]
[0.0873,1.6615,null,null,-1.5818,1.2982,null,null,-0.4467,1.1762]
[0.0782,2.1733,null,null,0.2056,1.7522,null,null,7.2515,2.7263]
[0.9206,1.4224,null,null,2.6388,1.7807,null,null,13.8297,4.8912]
[0.5183,0.9833,null,null,3.749,1.4079,null,null,16.7902,4.9465]
[0.2935,1.7223,null,null,3.9038,1.8982,null,null,11.429,4.349]
[0.4677,0.945,null,null,2.8395,2.6253,null,null,7.6897,2.5059]
[-0.219,1.1039,null,null,2.2837,2.3346,null,null,5.177,2.4129]
[0.2879,1.1739,null,null,1.5058,2.6311,null,null,2.7718,1.8579]
[-0.3057,0.4715,null,null,0.2867,2.1507,null,null,2.7342,3.7946]
[-0.1646,1.8957,null,null,-0.3134,1.8959,null,null,1.5919,1.1292]
[-0.2287,1.1714,null,null,-1.0765,2.1269,null,null,-0.9681,2.6055]
[-0.1962,1.0501,null,null,-1.0153,1.8175,null,null,-0.6042,2.7329]
[-0.1674,1.4907,null,null,-1.2466,1.5957,null,null,0.6419,1.6192]
[-0.8198,1.447,null,null,-2.7792,1.9387,null,null,-0.2234,2.5889]
[0.3789,1.2715,null,null,-1.8345,2.2582,null,null,-2.0024,1.6414]
[0.0349,1.1465,null,null,-2.3139,2.5232,null,null,-1.5408,2.1465]
[0.88,0.7404,null,null,0.5046,2.0387,null,null,9.8342,2.4828]
[-0.0963,1.278,null,null,7.6245,3.4915,null,null,28.2747,7.1063]
[0.042,1.4575,null,null,14.3467,3.4901,null,null,44.1779,7.6366]
[-0.3776,1.5842,null,null,18.4393,3.0765,null,null,50.5353,8.1384]
[0.0437,1.5703,null,null,23.3923,3.2129,null,null,60.1326,10.0587]
[-0.417,1.5795,null,null,26.8246,3.0694,null,null,59.7119,8.2274]
[-0.3081,1.6586,null,null,21.7594,4.4177,null,null,42.5968,5.9914]
[-0.3514,1.1485,null,null,17.8168,5.4972,null,null,29.0347,5.2403]
[-1.5543,1.8524,null,null,14.244,5.7823,null,null,19.7978,2.9509]
[-0.7543,1.4333,null,null,12.0393,5.1295,null,null,16.0769,4.9691]
[0.1475,1.6588,null,null,10.7601,4.9462,null,null,10.6961,2.456]
[0.2228,1.3589,null,null,8.1854,5.0403,null,null,9.1354,1.6406]
[0.3951,1.3986,null,null,6.2529,4.469,null,null,4.573,1.9589]
[0.3293,1.5772,null,null,5.701,4.074,null,null,7.0038,2.8821]
[-0.3228,1.0539,null,null,4.6573,4.0954,null,null,7.1105,2.4721]
[-0.8076,1.7124,null,null,3.2996,3.1777,null,null,2.4702,2.2433]
[-0.5398,1.0199,null,null,2.516,3.4557,null,null,2.3849,3.9428]
[-0.3624,1.021,null,null,1.8584,2.9576,null,null,3.6673,1.4735]
[-0.1833,1.3386,null,null,1.2715,2.919,null,null,1.3175,1.5541]
[0.223,1.6313,null,null,1.0333,2.7536,null,null,2.6484,3.3071]
[-0.7798,0.7734,null,null,0.0617,2.7461,null,null,-1.2224,1.2774]
[-1.2884,0.9424,null,null,-0.1649,2.3795,null,null,0.3674,2.4223]
[-1.3809,1.831,null,null,-0.7003,2.3046,null,null,-0.9991,2.459]
[-0.9353,1.6375,null,null,-1.5331,2.7016,null,null,-1.7545,3.5301]
[-1.3407,1.6206,null,null,-1.2463,2.5822,null,null,-3.3484,2.672]
[-0.0371,1.2448,null,null,-1.8967,1.83,null,null,-2.5412,1.7415]
[-1.0557,1.3776,null,null,-2.3953,2.4894,null,null,-2.6742,3.2525]
[-0.8036,1.525,null,null,-2.128,2.1006,null,null,-1.5355,2.9263]
[-0.4925,1.133,null,null,-2.9663,2.6006,null,null,-4.2144,2.6589]
[-1.0275,0.6554,null,null,-2.7123,2.231,null,null,-2.9327,1.5188]

{"sheet":"temporaldata-dog3b","index":13,"n_rows":77,"n_cols":14,"rows_kept":77,"flags":["formulas_cached_only"]}
["5x5 in contralateral lobe",{"$nulls":3},"damage map boundary pixels",{"$nulls":3},"1x5 away from fiber",{"$nulls":3},"temperature uncertainty"]
["mean","std",null,null,"mean","std",null,null,"mean","std",null,null,"mean","std"]
[0,0,null,null,0,0,null,null,0,0,null,null,"    1.0493    1.7946"]
[0.0884,0.9726,null,null,1.2828,3.8766,null,null,-0.5952,1.7216,null,null,"    0.2808    1.5816"]
[-0.25,1.5824,null,null,0.8147,2.9391,null,null,-2.1966,1.5288,null,null,"   -2.6835    2.4803"]
[0.4475,1.5031,null,null,3.0352,10.9996,null,null,-3.2485,4.5497,null,"stdev",1.9711021696840914]
[0.9994,1.6795,null,null,2.7993,11.5423,null,null,-3.7964,4.3388]
[0.0391,1.7932,null,null,2.3477,10.7715,null,null,-6.3746,3.2009]
[-0.9129,1.2356,null,null,0.7291,11.1562,null,null,-6.7983,2.9297]
[0.2944,1.2556,null,null,1.6317,10.2407,null,null,-5.6175,3.4139]
[-0.0379,1.3359,null,null,2.2247,10.5364,null,null,-1.7386,4.3247]
[-0.1229,1.2728,null,null,4.0115,9.9333,null,null,3.6609,6.0639]
[-0.4985,1.4713,null,null,4.5247,9.5558,null,null,7.6432,4.9482]
[0.5584,1.2433,null,null,6.1741,8.6973,null,null,10.971,5.8267]
[-0.0523,1.6284,null,null,6.6295,8.0929,null,null,11.2591,5.2605]
[0.0859,1.3259,null,null,6.5435,8.9432,null,null,10.3353,4.5913]
[-0.2728,1.8551,null,null,5.5417,8.5103,null,null,5.4935,4.0264]
[0.4973,1.8522,null,null,4.3969,8.4519,null,null,0.8083,2.8631]
[-0.0381,0.9089,null,null,3.5203,8.9777,null,null,-0.5888,3.9964]
[0.474,1.0637,null,null,6.0581,8.8891,null,null,7.7363,4.2982]
[0.143,0.8882,null,null,10.5852,6.9422,null,null,25.9904,5.8619]
[0.1802,1.6045,null,null,15.6813,7.2178,null,null,42.4169,7.2913]
[-0.1892,1.8056,null,null,19.0255,7.1528,null,null,48.3317,7.4857]
[0.3775,1.9074,null,null,22.7618,6.4569,null,null,58.8759,7.9266]
[-0.4911,1.2958,null,null,23.7529,6.5514,null,null,61.389,9.4869]
[-0.4527,1.5513,null,null,23.3981,6.3907,null,null,52.3638,7.9794]
[-0.7905,1.6414,null,null,25.396,6.8542,null,null,60.2532,8.6235]
[-0.4857,1.985,null,null,21.5745,7.3302,null,null,40.8519,4.9031]
[-0.1707,1.3901,null,null,18.1309,6.9228,null,null,33.4242,5.3659]
[0.0094,1.1192,null,null,14.8395,6.9375,null,null,20.8367,4.0688]
[0.6439,1.8676,null,null,13.6308,7.9457,null,null,16.119,4.1859]
[0.0133,1.1567,null,null,11.5399,7.5102,null,null,10.684,2.8281]
[-1.0874,1.3828,null,null,8.7682,8.0767,null,null,7.4227,3.1105]
[-0.2396,1.4713,null,null,8.6801,7.8141,null,null,5.6678,3.045]
[-0.0703,1.6194,null,null,6.9813,7.876,null,null,4.6077,3.2871]
[-0.6469,1.8554,null,null,5.5138,8.8068,null,null,1.496,3.7109]
[-0.0686,1.267,null,null,5.5611,8.8798,null,null,0.5047,3.0061]
[0.4122,1.7786,null,null,4.9694,8.6807,null,null,0.3888,2.958]
[0.6079,1.8835,null,null,3.7514,8.9917,null,null,-1.0526,2.3081]
[-0.2434,1.3438,null,null,3.6261,9.6405,null,null,-3.9441,3.6188]
[-0.0525,1.63,null,null,2.9262,9.1573,null,null,-3.3524,2.9477]
[-0.5549,1.8726,null,null,5.3285,8.1812,null,null,8.1273,4.9599]
[-0.3543,1.4147,null,null,8.7703,7.4531,null,null,23.4532,5.7769]
[0.1278,1.8235,null,null,13.301,6.786,null,null,34.1924,8.2845]
[-0.6283,1.2623,null,null,16.0868,6.7501,null,null,42.9019,9.2321]
[0.1274,1.4183,null,null,18.8316,6.5675,null,null,47.7454,5.6238]
[0.4329,1.3556,null,null,21.0882,6.6284,null,null,52.4594,7.808]
[-0.4979,1.1461,null,null,22.7287,6.6616,null,null,54.3381,6.1874]
[0.4291,1.6952,null,null,23.6942,6.285,null,null,57.156,7.0615]
[-0.5861,1.5134,null,null,19.3045,6.9714,null,null,40.5692,6.5529]
[-0.0769,1.5274,null,null,16.7976,7.0807,null,null,27.5488,4.0517]
[-0.4409,1.7229,null,null,14.6085,7.1166,null,null,20.6515,3.4058]
[0.0585,1.5169,null,null,11.9325,7.7686,null,null,14.9742,3.1334]
[-0.1276,1.7815,null,null,10.059,7.8347,null,null,10.2221,3.0196]
[-0.08,1.6042,null,null,8.8313,7.9863,null,null,8.6042,3.3028]
[-0.1857,1.1123,null,null,8.0512,8.0543,null,null,6.0621,2.6808]
[-0.9082,1.9356,null,null,6.906,8.391,null,null,3.5554,3.3708]
[-0.4715,1.6927,null,null,6.0504,8.3453,null,null,1.2176,2.8353]
[-0.8279,1.3718,null,null,4.8388,8.6158,null,null,0.5418,4.2318]
[-1.3012,1.407,null,null,4.1241,8.0532,null,null,-2.3332,2.9057]
[-0.7444,1.844,null,null,3.7487,8.8459,null,null,-2.9604,3.2573]
[-0.4929,0.9896,null,null,3.4676,9.722,null,null,-2.5137,2.8905]
[-1.0221,1.2537,null,null,2.5407,8.8527,null,null,-2.978,2.9246]
[-0.396,1.6473,null,null,1.9084,8.9925,null,null,-4.8436,3.0224]
[-0.1547,1.3557,null,null,1.7992,9.1992,null,null,-5.4776,4.078]
[-1.0617,1.2818,null,null,1.4812,8.8912,null,null,-5.7659,3.6323]
[0.0911,1.3473,null,null,0.9433,9.8926,null,null,-4.632,3.9128]
[-0.7073,1.3252,null,null,0.576,9.6117,null,null,-7.1682,2.7951]
[-1.443,0.9855,null,null,0.2154,10.1067,null,null,-6.451,3.3309]
[-1.0575,1.804,null,null,0.1409,9.4943,null,null,-7.9487,3.0522]
[-1.1015,1.2766,null,null,-0.4058,9.4805,null,null,-7.5052,2.5713]
[-1.3581,1.3918,null,null,-0.5579,10.4469,null,null,-8.2825,3.1268]
[-1.7871,1.1097,null,null,-0.5708,10.0906,null,null,-9.6635,3.1104]
[-0.9359,1.6046,null,null,-0.5677,10.2791,null,null,-9.3515,3.1203]
[-0.6538,1.3164,null,null,-0.6675,9.6729,null,null,-9.2575,2.2284]
[-1.0924,1.5823,null,null,-1.4274,10.0308,null,null,-10.2669,3.0978]
[-1.0105,0.9227,null,null,-1.2732,10.5195,null,null,-9.3872,4.3003]

{"sheet":"temporaldata-dog4","index":14,"n_rows":65,"n_cols":21,"rows_kept":65,"flags":["formulas_cached_only"]}
["5x5 in contralateral lobe",{"$nulls":3},"damage map boundary pixels",{"$nulls":3},"1x5 away from fiber",{"$nulls":3},"1x5 away from fiber and heating",{"$nulls":3},"Laser power (W)",null,null,"temperature uncertainty"]
["mean","std",null,null,"mean","std",null,null,"mean","std",null,null,"mean","std",{"$nulls":5},"mean","std"]
[0,0,null,null,0,0,{"$nulls":6},0,0,null,null,0,null,null,"  0.5922    1.6218"]
[0.8414,1.4342,null,null,0.9557,1.4779,null,null,0,0,null,null,1.5783,1.4559,null,null,0,null,null,"   -0.0357    1.6129"]
[0.2755,1.4144,null,null,0.6437,1.8508,null,null,1.2117,1.4545,null,null,2.1882,0.9919,null,null,0,null,null,"   -0.2412    1.6297"]
[0.6537,1.4442,null,null,0.4874,1.6998,null,null,0.2929,1.2929,null,null,0.0286,1.9049,null,null,0,null,"stdev",0.3146778829215679]
[0.59,1.4328,null,null,0.1224,1.6935,null,null,-0.7721,2.1609,null,null,0.9312,1.2499,null,null,0]
[0.364,1.1421,null,null,0.9908,1.7865,null,null,-1.0614,2.1704,null,null,-0.1073,1.2709,null,null,0]
[-0.1063,1.2748,null,null,0.8824,1.2954,null,null,0.0963,1.8968,null,null,1.3191,1.2434,null,null,0]
[0.2428,1.564,null,null,0.6517,1.5571,null,null,1.2476,1.6249,null,null,0.5403,1.1337,null,null,0]
[-0.0491,1.9684,null,null,0.5065,1.8154,null,null,-0.233,1.6053,null,null,1.0705,0.9453,null,null,0]
[0.8968,1.5963,null,null,0.8184,1.7047,null,null,-0.0188,1.4471,null,null,1.3,1.5666,null,null,0]
[0.6851,1.1963,null,null,1.0113,1.8939,null,null,1.1171,1.4528,null,null,1.295,0.8314,null,null,0]
[0.0431,1.2455,null,null,0.5306,1.5755,null,null,-0.4748,1.3967,null,null,0.7284,1.7793,null,null,0]
[0.0276,1.5723,null,null,0.4171,1.7736,null,null,-1.2398,1.253,null,null,0.7884,1.2866,null,null,0]
[0.2908,1.0441,null,null,0.9893,2.0354,null,null,-0.6149,2.4893,null,null,0.499,1.2076,null,null,0]
[0.9401,1.2771,null,null,1.3935,1.5728,null,null,0.3166,2.2126,null,null,1.8524,1.1855,null,null,0]
[-0.1258,1.5112,null,null,1.0434,2.0723,null,null,0.1114,1.7551,null,null,1.3025,1.2934,null,null,0]
[0.0038,1.2975,null,null,0.4321,1.6131,null,null,0.4836,1.6465,null,null,0.3063,1.7858,null,null,0]
[0.2959,1.1253,null,null,0.2144,1.8457,null,null,0.2521,1.0673,null,null,1.2551,1.3975,null,null,0]
[0.6411,1.1061,null,null,-0.2577,1.7865,null,null,-0.2318,1.8022,null,null,0.7673,1.0337,null,null,0]
[0.3193,0.9882,null,null,-0.1233,2.0681,null,null,-1.5784,1.4494,null,null,1.2319,0.7268,null,null,0]
[0.4055,1.1584,null,null,-1.2465,2.0968,null,null,-1.6383,1.2266,null,null,0.7408,1.8188,null,null,0]
[0.3786,1.4914,null,null,2.7808,1.8897,null,null,-3.2296,2.6633,null,null,0.9813,0.5796,null,null,0]
[0.0035,1.4847,null,null,6.4455,2.6028,null,null,3.8839,1.9744,null,null,0.61,1.2476,null,null,12]
[0.2747,1.0448,null,null,10.9433,3.0391,null,null,9.0665,2.1017,null,null,0.3521,1.0702,null,null,12]
[0.2898,1.4055,null,null,12.7184,3.6465,null,null,14.1198,2.7047,null,null,-0.266,0.6727,null,null,12]
[0.1131,1.6896,null,null,15.5558,2.9103,null,null,17.1688,3.5432,null,null,-0.1744,0.7521,null,null,12]
[0.5206,1.2064,null,null,18.2677,3.1178,null,null,20.4907,4.1479,null,null,0.5442,1.4491,null,null,12]
[0.2246,1.5823,null,null,19.4217,3.12,null,null,23.7533,5.7028,null,null,0.0067,1.7809,null,null,12]
[-0.0637,1.119,null,null,21.4833,2.7873,null,null,24.2371,6.0915,null,null,-0.9532,1.0047,null,null,12]
[0.5146,1.1489,null,null,24.6579,2.9086,null,null,27.2362,6.1473,null,null,1.1877,1.1698,null,null,12]
[-0.0466,1.2438,null,null,24.344,2.6594,null,null,28.8325,8.1651,null,null,-0.1785,1.1319,null,null,12]
[0.2096,1.2801,null,null,22.133,2.8868,null,null,31.5129,6.6987,null,null,0.305,0.9345,null,null,12]
[0.4425,1.0363,null,null,20.0446,3.8566,null,null,27.81,4.9151,null,null,0.4988,1.0989]
[0.1202,1.6704,null,null,16.5854,4.0922,null,null,22.1139,5.6139,null,null,0.4342,1.5224]
[0.5852,1.1609,null,null,13.8402,4.3797,null,null,19.5833,4.5307,null,null,0.5367,1.6221]
[0.161,1.316,null,null,12.3326,4.3984,null,null,15.0538,3.3288,null,null,0.7347,0.8564]
[0.5988,1.498,null,null,10.716,3.7071,null,null,12.7184,3.3786,null,null,1.0368,1.3328]
[0.517,1.2919,null,null,9.4709,3.9922,null,null,10.67,3.0323,null,null,0.5272,0.8776]
[-0.5692,1.4758,null,null,7.8581,4.0667,null,null,8.6216,2.3055,null,null,0.2851,1.5766]
[0.3547,1.3644,null,null,6.5323,3.985,null,null,7.5163,2.8268,null,null,0.1872,1.1322]
[0.66,1.0321,null,null,5.4279,3.4681,null,null,4.8043,2.9044,null,null,-0.7505,0.9563]
[0.6796,1.2263,null,null,5.1679,3.5883,null,null,4.1218,2.6312,null,null,-0.7187,1.2714]
[0.455,1.1235,null,null,4.2171,3.1129,null,null,3.9696,2.3827,null,null,0.2456,1.0669]
[0.6456,0.9392,null,null,3.3643,3.5332,null,null,3.4437,2.1623,null,null,-0.1827,1.388]
[0.2371,1.4061,null,null,2.3655,2.911,null,null,2.3349,2.6447,null,null,-0.9874,1.4692]
[0.2303,1.6909,null,null,2.2963,3.1832,null,null,0.578,2.3218,null,null,-0.2712,1.4264]
[0.2812,1.3961,null,null,1.8882,3.2753,null,null,0.5972,2.3336,null,null,-0.0791,0.774]
[0.4713,1.307,null,null,1.1494,2.6353,null,null,0.0372,2.3922,null,null,-0.3894,0.6473]
[0.85,0.7993,null,null,0.8033,2.7649,null,null,-1.1927,1.5265,null,null,-0.3792,1.6541]
[-0.0438,1.6499,null,null,0.2621,2.3514,null,null,-0.5188,2.3809,null,null,-0.8774,1.4734]
[0.8613,1.9047,null,null,-0.0136,2.6829,null,null,-1.3892,1.8069,null,null,-1.7798,1.1431]
[0.2046,1.5783,null,null,-0.4411,2.7336,null,null,-2.1503,1.9452,null,null,-0.7608,0.7298]
[0.3464,1.3439,null,null,-0.4822,2.956,null,null,-2.4633,2.4066,null,null,-0.5555,0.7313]
[0.9835,1.3423,null,null,-0.8592,2.6848,null,null,-2.5511,1.8028,null,null,-0.8253,1.0421]
[0.8977,1.3111,null,null,-0.9501,2.9633,null,null,-1.5573,3.0217,null,null,-0.8152,0.7083]
[0.183,1.3252,null,null,-1.7563,2.7288,null,null,-2.9181,1.1129,null,null,-1.6621,1.0541]
[-0.0486,1.1559,null,null,-1.6853,2.7957,null,null,-3.5065,1.3644,null,null,-0.5301,0.5849]
[0.5852,1.3743,null,null,-2.0428,2.2243,null,null,-3.0737,2.3025,null,null,-2.2543,1.352]
[-0.1956,1.4336,null,null,-2.7536,2.8705,null,null,-3.5947,1.7376,null,null,-0.7643,1.2378]
[0.1904,1.0932,null,null,-1.9197,2.5297,null,null,-4.6436,2.1135,null,null,-1.4436,0.9147]
[0.0739,1.0889,null,null,-2.9983,2.9167,null,null,-3.2065,2.2713,null,null,-1.8907,1.6105]
[-0.2947,1.5071,null,null,-2.7345,2.7327,null,null,-3.6509,1.8702,null,null,-2.009,1.1403]
[{"$nulls":8},-4.9426,2.5487]

{"sheet":"thermal treatment images","index":15,"n_rows":52,"n_cols":8,"rows_kept":52,"flags":["formulas_cached_only"]}
["dog 1"]
{"$rows_empty":16}
["dog 2"]
{"$rows_empty":15}
[{"$nulls":7},"treatment 2"]
["dog 3 treatment 1"]
{"$rows_empty":16}
["dog 4"]